## Slide 1: IMU-Based ACL impairment Assessment Using Machine Learning
19101207 Kim Taehyun

## Slide 2: Why ACL?
250,000
Annual number of ACL surgeries in the United States
Up to 25%
Re-tear rate within 2 years
50%
Incidence of osteoarthritis within 15 years
Compensation
Pain level
Time

## Slide 3: Why ACLD?
Current Assessment

## Slide 4
Solution
COST
Reliability
Gold Standard
Clinical Assessment
What we need!

## Slide 5
Solution
IMU
Cost
Size
Easy
GAIT
6,000–12,000 steps
Enables continuous monitoring in daily life Low intensity
Feasible for patients with minimal burden

## Slide 6: Limitations of previous studies
Single-speed gait assessment
Use Only scalar features
High-cost laboratory environment

## Slide 7: Our contribution
Early Rehabilitation
IMU- and ML-based Impairment Assessment
Multi-speed
Feasibility of Quantifying Assessment Outcomes

## Slide 9: method
Data Preprocessing
Waveform Analysis
Impairment Scoring
SHAP Interpreting
Data inspection and normalization, peak detection
Global statistical analysis using SPM1D
Point Metric Analysis
Looking at biomechanical metrics and specific time point
Clustering, distance
Interpretation of ML using SHAP

## Slide 10: Data
Chart: 
| Participant count
Healthy | 25
ACLR | 27
ACLD | 27
Slow Normal Fast

## Slide 11: Biomechanical metrics
STANCE PHASE
SWING PHASE

## Slide 12: Biomechanical Features
Stance phase features
Peak / min / ROM / IC_angle / peak_timing
Limb Symmetry Index
( Injured / Contralateral ) X 100
Time (s)
Knee flexion angle

## Slide 13: analysis
Waveform, SPM1D
Scalar feature table
Shapiro-Wilk
Levene
Kruskal-Wallis
One-way ANOVA
Welch ANOVA
FDR-BH correction
Effect size
Downstream
Non-noraml
Normal + Equal var.
Normal + Unequal var.
Point metric

## Slide 14: Results summary
Significant features by speed
Chart: 
| Number of significant features
FAST | 10
NORMAL | 4
SLOW | 5
Significant features by cluster
Chart: 
| Knee Flexion | Hip Flexion | Ankle Dorsiflexion | Ankle Inversion | Hip Adduction
Feature count | 7 | 5 | 5 | 1 | 1

## Slide 15: To do
Scoring Framework
Interpretation Using SHAP
SHAP was used to interpret the model’s predictions and improve explainability, which is crucial in medical applications.

## Slide 16: Question?

## Slide 17: Thank you for listening!

## Slide 18: Why ML?
Model
Input
Output
Why ML?